## Project Type A
Item | Item Description | Unit Rate | Unit | Quantity | Total
SECTION 1: EROSION AND SEDIMENT CONTROL
1.1. | Supply, install and remove sediment fence including maintenance throughout duration of project as directed by Consulting Engineer
1.1.a | Single row per OPSD 219.110 | 12.82 | m |  | 0
1.1.b | Single row c/w strawbale per OPSD 219.100 | 37.82 | m |  | 0
1.1.c | Double row | 19.23 | m |  | 0
1.1.d | Double row c/w strawbale | 44.23 | m |  | 0
1.2. | Supply, install and maintain catchbasin protection woven geotextile to all existing Cbs and/or CBMHs
1.2.a | Catchbasin | 175 | each |  | 0
1.2.b | Catchbasin manhole | 175 | each |  | 0
1.2.c | Double catchbasin | 200 | each |  | 0
1.2.d | Double catchbasin manhole | 200 | each |  | 0
1.3. | Construct and maintain 450mm depth of 50mm diameter gravel construction entrance mud-mat as directed by Consulting Engineer. | 8435.67 | each |  | 0
1.4. | Supply and install fiber roll flow | 14.84 | m |  | 0
1.5. | Construct and maintain temporary flat bottom ditch rock flow check dam per OPSD 219.211
1.6. | Construct and maintain temporary diversion OR cut off swales as directed by Consulting Engineer | 11.13 | m |  | 0
1.7. | Seed temporary diversion OR cut off swale as shown on ESC plan | 0.74 | sqm |  | 0
1.8. | Construct and maintain temporary sediment trap per OPSD 219.220 | 1000 | each |  | 0
1.9. | Construct and maintain temporary sediment basin
1.10. | Supply and install temporary Hickenbottom drain c/w 75mm diameter orifice plate and anti-seep collar
1.10.a | 150mm diameter drain
1.10.b | 300mm diameter drain
1.11. | Construct and maintain temporary plunge pool
1.11.a | C/w 300mm depth of 150mm rip-rap on top of 200mm depth of 20mm CRL | 145 | sqm |  | 0
1.11.b | C/w 300mm depth of 150mm rip-rap on top of non-woven filter fabric | 137 | sqm |  | 0
1.12. | Supply, install and remove snow fence barrier as directed by Consulting Engineer | 12.51 | m |  | 0
Total for Section 1 |  |  |  |  | 0
SECTION 2: EARTHWORKS
2.1. | Clear and grub site as directed by Consulting Engineer
2.1.a | Light trees (6" diameter) | 18232.31 | ha. |  | 0
2.1.b | Medium trees (12" diameter) | 28915.8 | ha. |  | 0
2.1.c | Heavy trees (24" diameter) | 64292.87 | ha. |  | 0
2.2. | Strip topsoil as directed by Consulting Engineer and:
2.2.a | Stockpile on site | 4.11 | cum |  | 0
2.2.b | Export off site | 15.82 | cum |  | 0
2.3. | Import topsoil onsite as directed by Consulting Engineer (Based on: 10 cum truck. 6km total haul, traveling avg. 40km.h) | 8.08 | cum |  | 0
2.4. | Cut and fill site to desired pregrade level
2.4.a | Excavate, spread, and compact cut material to the Standard Proctor Maximum Dry Density (SPMDD) of 98% | 6.14 | cum |  | 0
2.4.b | Import, spread, and compact clean fill to the Standard Proctor Maximum Dry Density (SPMDD) of 98% | 8.78 | cum |  | 0
2.4.c | Export additional cut fill off site (Based on: 10 cum truck. 6km total haul, traveling avg. 40km.h) | 7.41 | cum |  | 0
2.5. | Spread and hydroseeded topsoil as directed by Consulting Engineer | 5.58 | cum |  | 0
2.6. | Rough grade site
2.6.a | 100 cum to 300 cum using skid steer | 1320.9 | LS |  | 0
2.6.b | 300 cum to 450 cum using skid steer | 1994.3 | LS |  | 0
2.6.c | 450 cum to 750 cum using skid steer | 3082.1 | LS |  | 0
2.6.d | 750 cum to 1000 cum using skid steer | 4118.1 | LS |  | 0
2.6.e | 750 cum to 1000 cum using dozer | 1476.3 | LS |  | 0
2.6.f | 1000 cum to 2000 cum using grader | 1398.6 | LS |  | 0
2.6.g | 2000 cum to 2500 cum using grader | 1787.1 | LS |  | 0
2.6.h | 2500 cum to 3500 cum using grader | 2486.4 | LS |  | 0
2.6.i | 3500 cum to 4500 cum using grader | 3496.5 | LS |  | 0
2.6.j | 4500 cum to 7000 cum using grader | 4998.7 | LS |  | 0
2.6.k | 7000 cum to 9500 cum using grader | 6941.2 | LS |  | 0
2.7. | Borrow, load, or spread material using front end loader
2.7.a | Common fill | 30.3 | cum |  | 0
2.7.b | Granular | 46.46 | cum |  | 0
2.7.c | Clay or Till | 23.77 | cum |  | 0
2.7.d | Topsoil | 43.77 | cum |  | 0
2.8. | Haul loose fill to site. Including waiting, loading, travel, dumping and returning. Assuming a 10 cum truck traveling 40 km/h and 20 minute wait time
2.8.a | 6km haul cycle (3km each way) | 8.75 | cum |  | 0
2.8.b | 10km haul cycle (5km each way) | 10.03 | cum |  | 0
2.8.c | 12km haul cycle (6km each way) | 11.72 | cum |  | 0
2.8.d | 16km haul cycle (8km each way) | 12.79 | cum |  | 0
2.9. | Compaction of material assuming 300mm lift and 2 passes
2.9.a | Seated vibratory rolling compactor | 0.12 | cum |  | 0
2.9.b | Sheepsfoot roller compactor | 0.2 | cum |  | 0
2.9.c | Walking vibratory plate compactor | 0.53 | cum |  | 0
Total for Section 2 |  |  |  |  | 0
SECTION 3: SANITARY SEWERS & APPURTENANCES
3.1. | Supply and install 150mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
3.1.a | Depth of 2m-3m | 91.45 | m |  | 0
3.1.b | Depth of 3m-4m | 108.55 | m |  | 0
3.1.c | Depth of 4m-6m | 142.73 | m |  | 0
3.1.d | Depth of 6m-8m | 176.92 | m |  | 0
3.2. | Supply and install 200mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
3.2.a | Depth of 2m-3m | 116.24 | m |  | 0
3.2.b | Depth of 3m-4m | 133.33 | m |  | 0
3.2.c | Depth of 4m-6m | 170.94 | m |  | 0
3.2.d | Depth of 6m-8m | 208.55 | m |  | 0
3.3. | Supply and install 250mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
3.3.a | Depth of 2m-3m | 141.88 | m |  | 0
3.3.b | Depth of 3m-4m | 160.68 | m |  | 0
3.3.c | Depth of 4m-6m | 200 | m |  | 0
3.3.d | Depth of 6m-8m | 241.03 | m |  | 0
3.4. | Supply and install 300mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
3.4.a | Depth of 2m-3m | 167.52 | m |  | 0
3.4.b | Depth of 3m-4m | 188.03 | m |  | 0
3.4.c | Depth of 4m-6m | 229.06 | m |  | 0
3.4.d | Depth of 6m-8m | 273.5 | m |  | 0
3.5. | Supply and install 375mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
3.5.a | Depth of 2m-3m | 205.13 | m |  | 0
3.5.b | Depth of 3m-4m | 227.35 | m |  | 0
3.5.c | Depth of 4m-6m | 271.79 | m |  | 0
3.5.d | Depth of 6m-8m | 321.37 | m |  | 0
3.6. | Supply and install 450mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
3.6.a | Depth of 2m-3m | 273.5 | m |  | 0
3.6.b | Depth of 3m-4m | 297.44 | m |  | 0
3.6.c | Depth of 4m-6m | 341.88 | m |  | 0
3.6.d | Depth of 6m-8m | 396.58 | m |  | 0
3.7. | Jack and bore 450 diameter
3.7.a | steel case only | 1555.55 | m |  | 0
3.7.b | Mobilization, preparation, and demobilization | 4144 | m |  | 0
3.8. | Auger 900mm diameter
3.8.a | utility tunnel c/w liner | 1519.66 | m |  | 0
3.8.b | Mobilization, preparation, and demobilization | 5439 | m |  | 0
3.9. | Supply and install 50mm diameter 50PE forcemain
3.9.a | Depth of 3m |  | m
3.9.b | Depth of 3.5m-5m |  | m
3.10. | Supply and install 100mm diameter PVC class SDR-28 sanitary service connection
3.10.a | Single |  | each
3.10.b | Double |  | each
3.11. | Supply and install 125mm diameter PVC class SDR-28 sanitary service connection
3.11.a | Single |  | each
3.11.b | Double |  | each
3.12. | Supply and install precast concrete sanitary manhole
3.12.a | 1200mm diameter | 1418.8 | m |  | 0
3.12.b | 1500mm diameter | 2085.47 | m |  | 0
3.12.c | 1800mm diameter | 3076.92 | m |  | 0
3.12.d | 2400mm diameter | 4102.56 | m |  | 0
3.13. | Supply and install safety grate in concrete manhole per OPSD 404.020 |  | each
3.14. | Break into EX.SAN MH and connect with new drop structure |  | each
3.15. | Clean, flush and perform CCTV testing of all sanitary sewers and structures | 30.09 | m |  | 0
3.16. | Perform air pressure testing of all sanitary sewers |  | m
3.17. | Perform deflection testing of all sanitary sewers |  | m
Total for Section 3 |  |  |  |  | 0
SECTION 4: STORM SEWERS & APPURTENANCES
4.1. | Supply and install 250mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
4.1.a | Depth of 2m-3m | 141.88 | m |  | 0
4.1.b | Depth of 3m-4m | 160.68 | m |  | 0
4.1.c | Depth of 4m-6m | 200 | m |  | 0
4.1.d | Depth of 6m-8m | 241.03 | m |  | 0
4.2. | Supply and install 300mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
4.2.a | Depth of 2m-3m | 167.52 | m |  | 0
4.2.b | Depth of 3m-4m | 188.03 | m |  | 0
4.2.c | Depth of 4m-6m | 229.06 | m |  | 0
4.2.d | Depth of 6m-8m | 273.5 | m |  | 0
4.3. | Supply and install 375mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
4.3.a | Depth of 2m-3m | 205.13 | m |  | 0
4.3.b | Depth of 3m-4m | 227.35 | m |  | 0
4.3.c | Depth of 4m-6m | 271.79 | m |  | 0
4.3.d | Depth of 6m-8m | 321.37 | m |  | 0
4.4. | Supply and install 450mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
4.4.a | Depth of 2m-3m | 273.5 | m |  | 0
4.4.b | Depth of 3m-4m | 297.44 | m |  | 0
4.4.c | Depth of 4m-6m | 341.88 | m |  | 0
4.4.d | Depth of 6m-8m | 396.58 | m |  | 0
4.5. | Supply and install 600mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
4.5.a | Depth of 2m-3m | 348.72 | m |  | 0
4.5.b | Depth of 3m-4m | 376.07 | m |  | 0
4.5.c | Depth of 4m-6m | 427.35 | m |  | 0
4.5.d | Depth of 6m-8m | 492.31 | m |  | 0
4.6. | Jack and bore 450 diameter
4.6.a | steel case only | 1555.55 | m |  | 0
4.6.b | Mobilization, preparation, and demobilization | 4144 | m |  | 0
4.7. | Auger 900mm diameter
4.7.a | utility tunnel c/w liner | 1519.66 | m |  | 0
4.7.b | Mobilization, preparation, and demobilization | 5439 | m |  | 0
4.8. | Supply and install PVC storm orifice tube including eccentric reducer
4.8.a | 1.0m-75mm diameter |  | each
4.8.b | 1.0m-150mm diameter |  | each
4.8.c | 1.0m-200mm diameter |  | each
4.9. | Supply and install aluminium orifice tube fuse guard |  | each
4.10. | 50mm diameter dewatering pump installed in trench for 8-hours | 279.72 | each |  | 0
4.11. | Supply and install 1.8m x 1.0m precast concrete box culvert incl. excavation, granular bedding, and backfill
4.11.a | Depth of 2m-3m | 1035.9 | m |  | 0
4.11.b | Depth of 3m-4m | 1059.83 | m |  | 0
4.11.c | Depth of 4m-6m | 1111.11 | m |  | 0
4.11.d | Depth of 6m-8m | 1165.81 | m |  | 0
4.12. | Supply and install 2.4m x 1.0m precast concrete box culvert incl. excavation, granular bedding, and backfill
4.12.a | Depth of 2m-3m | 1480.34 | m |  | 0
4.12.b | Depth of 3m-4m | 1504.27 | m |  | 0
4.12.c | Depth of 4m-6m | 1555.55 | m |  | 0
4.12.d | Depth of 6m-8m | 1610.25 | m |  | 0
4.13. | Supply and install 3.0m x 2.5m precast concrete box culvert incl. excavation, granular bedding, and backfill
4.13.a | Depth of 2m-3m | 2283.76 | m |  | 0
4.13.b | Depth of 3m-4m | 2307.69 | m |  | 0
4.13.c | Depth of 4m-6m | 2358.97 | m |  | 0
4.13.d | Depth of 6m-8m | 2413.67 | m |  | 0
4.14. | Supply and install 125mm diameter PVC storm service connection
4.14.a | Single |  | each
4.14.b | Double |  | each
4.15. | Supply and install 150mm diameter PVC storm service connection
4.15.a | Single |  | each
4.15.b | Double |  | each
4.16. | Supply and install concrete storm manhole
4.16.a | 1200mm diameter | 1418.8 | m |  | 0
4.16.b | 1500mm diameter | 2085.47 | m |  | 0
4.16.c | 1800mm diameter | 3076.92 | m |  | 0
4.16.d | 2400mm diameter | 4102.56 | m |  | 0
4.17. | Supply and install safety grate in concrete manhole per OPSD 404.020 |  | each
4.18. | Break into EX.STM MH and connect with new drop structure |  | each
4.19. | Supply and install precast concrete catchbasin and lead
4.19.a | Single (CB) | 3574.2 | each |  | 0
4.19.b | Double (DCB) | 4895.1 | each |  | 0
4.19.c | Rear-lot CB (RLCB) |  | each
4.19.d | Ditch inlet CB (DICB) |  | each
4.20. | Supply and install HDPE BOSS culverts
4.20.a | 400mm diameter | 67.59 | each |  | 0
4.20.b | 600mm diameter | 124.14 | each |  | 0
4.20.c | 800mm diameter | 161.95 | each |  | 0
4.21. | Supply and install CSP culverts
4.21.a | 400mm diameter | 97.85 | each |  | 0
4.21.b | 600mm diameter | 159.76 | each |  | 0
4.21.c | 800mm diameter | 256.48 | each |  | 0
4.22. | Supply and install cast-in-place concrete headwall per OPSD 804.030 c/w warning sign per OPSD 3940.150 and safety grate per OPSD 804.05 | 4000 | each |  | 0
4.23. | Clean, flush and perform CCTV testing of all storm sewers and structures | 30.09 | m |  | 0
4.24. | Perform deflection testing of all storm sewers |  | m
Total for Section 4 |  |  |  |  | 0
SECTION 5: WATERMAIN & APPURTENANCES
5.1. | Remove existing plug and blow-off and connect to existing watermain |  | each
5.2. | Supply and install valve and box (V&B)
5.2.a | 100mm diameter | 1087.8 | each |  | 0
5.2.b | 200mm diameter | 1605.8 | each |  | 0
5.2.c | 300mm diameter | 2667.7 | each |  | 0
5.2.d | 350mm diameter | 5464.9 | each |  | 0
5.2.e | 450mm diameter | 7977.2 | each |  | 0
5.3. | Supply and install watermain incl. excavation
5.3.a | 50mm diameter Type 'K' copper | 138.46 | each |  | 0
5.3.b | 150mm diameter PVC Class 150 | 58.63 | each |  | 0
5.3.c | 200mm diameter PVC Class 150 | 75.73 | each |  | 0
5.3.d | 250mm diameter PVC Class 150 | 90.6 | each |  | 0
5.3.e | 300mm diameter PVC Class 150 | 111.11 | each |  | 0
5.3.f | 350mm diameter PVC Class 150 | 141.88 | each |  | 0
5.4. | Supply and install tapping sleeve and valve into existing watermain
5.4.a | 100mm diameter | 1683.5 | each |  | 0
5.4.b | 200mm diameter | 2538.2 | each |  | 0
5.4.c | 300mm diameter | 4739.7 | each |  | 0
5.4.d | 350mm diameter | 5982.9 | each |  | 0
5.4.e | 400mm diameter | 11603.2 | each |  | 0
5.5. | Supply and install cut in sleeve and valve into existing watermain
5.5.a | 100mm diameter | 1528.1 | each |  | 0
5.5.b | 200mm diameter | 2590 | each |  | 0
5.5.c | 300mm diameter | 4506.6 | each |  | 0
5.6. | Supply and install watermain reducing tee
5.6.a | 150mm to 100mm | 167.83 | each |  | 0
5.6.b | 200mm to 150mm | 280.76 | each |  | 0
5.6.c | 250mm to 200mm | 265.22 | each |  | 0
5.6.d | 300mm to 150mm | 326.34 | each |  | 0
5.6.e | 300mm to 200mm | 357.42 | each |  | 0
5.7. | Jack and bore 450 diameter
5.7.a | steel case only | 1555.55 | m |  | 0
5.7.b | Mobilization, preparation, and demobilization | 4144 | m |  | 0
5.8. | Auger 900mm diameter
5.8.a | utility tunnel c/w liner | 1519.66 | m |  | 0
5.8.b | Mobilization, preparation, and demobilization | 5439 | m |  | 0
5.9. | Supply and install backflow preventor c/w valves and automatic operation
5.9.a | 100mm diameter | 3748.5 | each |  | 0
5.9.b | 150mm diameter | 5839.5 | each |  | 0
5.9.c | 200mm diameter | 9817.5 | each |  | 0
5.9.d | 250mm diameter | 15402 | each |  | 0
5.10. | Supply and install precast water chamber c/w valves, water meter and maintenance access
5.10.a | 100 diameter and valve and meter | 17560.2 | each |  | 0
5.10.b | 150 diameter and valve and meter | 22144.5 | each |  | 0
5.10.c | 200 diameter and valve and meter | 30717.4 | each |  | 0
5.10.d | 250 diameter and valve and meter | 44081.8 | each |  | 0
5.11. | Supply and install Type 'K' water service connection c/w curb stop
5.11.a | 25mm diameter |  | each
5.11.b | 50mm diameter |  | each
5.12. | Supply and install hydrant including valve and box to final grade | 5128.2 | each |  | 0
5.13. | Supply and install hydrant anti-tempering device as directed by Consultanting Engineer |  | each
5.14. | Swab, flush and chlorinate watermain system |  | m
5.15. | Perform pressure testing on watermain system |  | m
5.16. | Perform watermain continuity testing |  | m
Total for Section 5 |  |  |  |  | 0
SECTION 6: STORMWATER MANAGEMENT
6.1. | Supply and install 50-100mm diameter low flow rip-rap along bottom of dry pond | 135.61 | sqm |  | 0
6.2. | Supply and install cable concrete CC35 blocks or approved equivalent along bottom of dry pond | 287.38 | sqm |  | 0
6.3. | Supply and instsal geosynthetic reservoir liner
6.3.a | Clay liner as instructed by Gotechincal Engineer (assumed 300nn thick). Include haul, placement and compaction | 9.16 | sqm |  | 0
6.3.b | 60mm thick HDPE membrane liner | 27.53 | sqm |  | 0
6.4. | Supply and install non-woven filter fabric Terrafix 420R or equivalent | 1.57 | sqm |  | 0
6.5. | Supply and install 200mm compacted depth of 20mm CRL | 8.75 | sqm |  | 0
6.6. | Construct 300mm depth overland flow route c/w 150 diameter rip-rap over filter fabric | 137.18 | sqm |  | 0
6.7. | Supply and install concrete outlet control structure at spillway location
6.8. | Construct cast-in-place concrete Emergency Spillway Weir |  | LS
6.9. | Construct Emergency Spillway channel
6.9.a | Line with Eco-Raster E50 | 294.62 | sqm |  | 0
6.9.b | Line with cable concrete CC35 blocks | 71.01 | sqm |  | 0
6.10. | Supply and install cast-in-place concrete headwall per OPSD 804.030 c/w warning sign per OPSD 3940.150 and safety grate per OPSD 804.05 | 4000 | each |  | 0
6.11. | Construct permanent cutoff swale |  | m
6.12. | Supply and install double swing maintenance gate per OPSD 972.102 | 1295 | each |  | 0
6.13. | SWM Dry Pond maintenance as instructed by Consulting Engineer |  | LS
6.14. | Supply and install geosyntehtic reservoir liner
6.14.a | Clay liner as instructed by Gotechincal Engineer (assumed 300nn thick). Include haul, placement and compaction | 9.16 | sqm |  | 0
6.14.b | 60mm thick HDPE membrane liner | 27.53 | sqm |  | 0
6.15. | Supply and install cable concrete CC35 blocks or approved equivalent along bottom of active storage basin | 287.38 | sqm |  | 0
6.16. | Supply and install 200mm compacted depth of 20mm CRL | 8.75 | sqm |  | 0
6.17. | Supply and install non-woven filter fabric Terrafix 420R or equivalent | 1.57 | sqm |  | 0
6.18. | Supply and install cast-in-place concrete headwall per OPSD 804.030 c/w warning sign per OPSD 3940.150 and safety grate per OPSD 804.05 | 4000 | each |  | 0
6.19. | Supply and install concrete outlet control structure at spillway location |  | LS
6.20. | Construct cast-in-place concrete Emergency Spillway Weir |  | LS
6.21. | Construct Emergency Spillway channel
6.21.a | Line with Eco-Raster E50 | 294.62 | sqm |  | 0
6.21.b | Line with cable concrete CC35 blocks | 71.01 | sqm |  | 0
6.22. | Supply and install double swing maintenance gate per OPSD 972.102 | 1295 | each |  | 0
6.23. | Active Storage Basin maintenance as directed by Consulting Engineer |  | LS
6.24. | Supply and install 2.0m H x 0.50m W Decorative Stone retaining wall | 2297.43 | m |  | 0
6.25. | Supply and install cast-in-place concrete retaining wall or approved equivalent as directed by Structural Engineer
6.25.a | 2.0m high | 1059.83 | m |  | 0
6.25.b | 3.0m high | 2017.09 | m |  | 0
6.26. | Supply and install permeable pavements
6.26.a | c/w compacted 50mm diameter granular sub-base and geotextile. | 405.76 | sqm |  | 0
6.26.b | Supply and install permeable pavement only | 153.28 | sqm |  | 0
6.27. | Construct 2.0m wide flat bottom enhanced grass swale at 1.0% with 5:1 embankment slopes and min. 150mm depth of topsoil and sod |  | m
6.28. | Supply and install 150mm daimeter fully perforated sock wrapped 'Big O' subdrain along entire lenghth of enhanced grass swale | 13.5 | m |  | 0
6.29. | Supply and install 100mm depth of 50mm diameter clear stone across 2.0m width and entire length of enhanced grass swale, wrapped in non-woven filter fabric c/w overlap joints of min. 150mm | 27.71 | m |  | 0
6.30. | Supply and instsall impervious membrane linear underneath 100mm depth of 50mm clear stone | 21.4 | sqm |  | 0
6.31. | Supply and install precast 150mm thick 30 degree V-notch concrete weir structure |  | LS
6.32. | Supply and install Brentwood Stormtank c/w impermeable liner |  | cum
6.33. | Supply and install 150mm depth of 20mm CRL c/w mon-woven geotextile to use as leveling bes and top backfill for Brentwood Stormtank as directed by Consulting Engineer |  | sqm
6.34. | Supply and install 0.25m H x 0.50m W infiltration chamber c/w surrounding 50mm dia. clear sotne and observation well. Including excavation and backfill
6.34.a | 0.25m H x 0.50m W | 43.42 | m |  | 0
6.34.b | 0.30m H x 1.00m W | 64.55 | m |  | 0
6.34.c | 0.75m H x 1.25m W | 176.92 | m |  | 0
6.35. | Supply and install OGS Stormceptor unit
6.35.a | Model STC 750 |  | each
6.35.b | Model STC 1500 |  | each
6.35.c | Model STC 4000 |  | each
6.36. | Supply and instal ADS water quality unit |  | each
6.37. | Supply and install Jellyfish water quality unit |  | each
Total for Section 6 |  |  |  |  | 0
SECTION 7: ROADWORK TO BASE COURSE
7.1. | Fine grade over full width of R.O.W. | 4.48 | sqm |  | 0
7.2. | Fine grade boulevards, buffer areas, and parks to pre-grade elevations | 4.48 | sqm |  | 0
7.3. | Supply and spread 100mm topsoil depth where directed by Consulting Engineer | 0.51 | sqm |  | 0
7.4. | Supply and install:
7.4.a | No.1 Nursery Sod over topsoil areas | 0.52 | sqm |  | 0
7.4.b | Hydroseed over topsoil areas | 0.46 | sqm |  | 0
7.5. | Supply and install 50mm diameter CRL across road width to 0.60m behind curbs, compacted to a depth of:
7.5.a | 225mm depth | 18.92 | sqm |  | 0
7.5.b | 250mm depth | 20.96 | sqm |  | 0
7.5.c | 300mm depth | 27.74 | sqm |  | 0
7.5.d | 350mm depth | 31.44 | sqm |  | 0
7.6. | Supply and install 20mm diameter CRL across road width to face of curbs, compacted to a depth of:
7.6.a | 130mm depth | 8.01 | sqm |  | 0
7.6.b | 150mm depth | 8.75 | sqm |  | 0
7.6.c | 200mm depth | 11.71 | sqm |  | 0
7.7. | Supply and install 100mm diameter fully perforated wrapped subdrain underneath curb | 60.68 | m |  | 0
7.8. | Supply and construct cast-in-place concrete curb and gutter | 123.08 | m |  | 0
7.9. | Supply and construct temporary asphalt curb | 15.21 | m |  | 0
7.10. | Supply and install HL8 base course asphalt over roadway
7.10.a | 50mm depth | 11.9 | sqm |  | 0
7.10.b | 75mm depth | 17.44 | sqm |  | 0
7.10.c | 100mm depth | 22.93 | sqm |  | 0
7.10.d | 150mm depth | 33.96 | sqm |  | 0
7.11. | Supply and install temporary pavement markings
7.11.a | 0.60m wide stop bar |  | each
7.11.b | Handicap symbol | 66.3 | each |  | 0
7.11.c | 100mm thick dividing line | 1.2 | m |  | 0
7.11.d | Turning symbols |  | each
Total for Section 7 |  |  |  |  | 0
SECTION 8: REMOVALS & RELOCATIONS
8.1. | Demolish existing structure and dispose off site
8.1.a | Steel, masonry or wood building | 15 | each |  | 0
8.1.b | Concrete building | 19.39 | each |  | 0
8.1.c | House - 150 sqm | 9293.7 | each |  | 0
8.1.d | House - 250 sqm | 9453.5 | each |  | 0
8.1.e | House - 300 sqm | 12639.2 | each |  | 0
8.1.f | House - 400 sqm | 16783.2 | each |  | 0
8.1.h | House - 500 sqm | 21030.8 | each |  | 0
8.2. | Remove existing Sanitary pipe and dispose off site
8.2.a | 150mm diameter PVC | 13.4 | m |  | 0
8.2.b | 300mm diameter PVC | 22.39 | m |  | 0
8.2.c | 450mm diameter PVC | 22.39 | m |  | 0
8.3. | Remove existing Storm pipe and dispose off site
8.3.a | 250mm diameter PVC | 22.39 | m |  | 0
8.3.b | 450mm diameter PVC | 22.39 | m |  | 0
8.3.c | 600mm diameter PVC | 75.21 | m |  | 0
8.4. | Remove existing Watermain pipe and dispose off site
8.4.a | 50mm diameter PVC | 9.95 | m |  | 0
8.4.b | 150mm diameter PVC | 13.4 | m |  | 0
8.4.c | 300mm diameter PVC | 22.39 | m |  | 0
8.5. | Remove existing V&B and dispose off site
8.5.a | 50mm-300mm diameter | 461.02 | each |  | 0
8.5.b | 350mm-600mm diameter | 1217.3 | each |  | 0
8.6. | Remove existing catchbasin/manhole and dispose off site | 837.61 | m |  | 0
8.7. | Relocate existing hydrant and valve | 1942.5 | each |  | 0
8.8. | Sawcut and remove existing asphalt and dispose off site | 12.7 | sqm |  | 0
8.9. | Remove existing concrete curb and gutter and dispose off site | 24.27 | m |  | 0
8.10. | Remove existing concrete sidewalk and dispose off site
8.10.a | 1.5m wide | 30.24 | m |  | 0
8.10.b | 3.0m wide | 60.47 | m |  | 0
8.11. | Remove existing concrete (general)
8.11.a | Plain, not reinforced | 176.43 | cum |  | 0
8.11.b | Reinforced | 242.42 | cum |  | 0
8.12. | Remove existing pavement markings | 12 |  |  | 0
8.13. | Remove existing concrete retaining wall c/w NO reinforcement
8.13.a | 1.5m high | 63.59 | m |  | 0
8.13.b | 3.0m high | 85.47 | m |  | 0
8.14. | Remove existing concrete retaining wall c/w reinforcement
8.14.a | 1.5m high | 85.47 | m |  | 0
8.14.b | 3.0m high | 105.98 | m |  | 0
8.15. | Remove and relocate existing signage
8.15.a | Stop sign |  | each
8.15.b | Dead end barricade |  | each
8.15.c | Regulatory signs |  | each
8.15.d | Guardrail | 87.18 | m |  | 0
8.16. | Remove 1.5m high black vinyl chain link fence (CLF) and dispose off site | 7.52 | m |  | 0
8.17. | Remove 1.8m high cedar privacy fence and dispose off site | 9.85 | m |  | 0
8.18. | Remove railroad ties and tracks and dispose off site | 48.38 | m |  | 0
Total for Section 8 |  |  |  |  | 0
SECTION 9: ROADWORKS TO TOP COURSE
9.1. | Raise CB and MH frame and cover to finished grade
9.1.a | Manhole | 275.58 | each |  | 0
9.1.b | Catchbasin | 275.58 | each |  | 0
9.1.c | Double Catchbasin | 336.7 | each |  | 0
9.2. | Clean and sweep entire roadway surface |  | sqm
9.3. | Apply tack coat over entire roadway surface | 2.06 | sqm |  | 0
9.4. | Supply and install HL3 top course asphalt over roadway
9.4.a | 25mm depth | 6.23 | sqm |  | 0
9.4.b | 40mm depth | 10.05 | sqm |  | 0
9.4.c | 50mm depth | 13.31 | sqm |  | 0
9.5. | Supply and construct concrete sidewalk or walkway
9.5.a | 1.5m wide | 142.46 |  |  | 0
9.5.b | 3.0m wide | 284.93 |  |  | 0
9.6. | Supply and install tactile warning plates at pedestrian crossings | 129.5 | each |  | 0
9.7. | Supply and construct permanent community concrete mailbox pad
9.7.a | 2.0m x 2.0m | 563 | each |  | 0
9.7.b | 2.5m x 2.5m | 1064.07 | each |  | 0
9.7.c | 3.0m x 3.0m | 1745.3 | each |  | 0
9.8. | Supply and install permanent pavement markings
9.8.a | 0.60m wide stop bar |  | each
9.8.b | Handicap symbol | 66.3 | each |  | 0
9.8.c | 100mm thick dividing line | 1.2 | m |  | 0
9.8.d | Turning symbols |  | each
9.9. | Supply and install 1.5m high black vinyl chain link fence (CLF) | 57.26 | m |  | 0
9.10. | Supply and install 1.8m high cedar privacy fence | 121.37 | m |  | 0
9.11. | Supply and install 2.4m high cedar privacy fence | 161.81 | m |  | 0
9.12. | Supply and install light weight composite panel, cementitious face acoustic wall
9.12.a | 2.5m high | 728.2 | m |  | 0
9.12.b | 3.5m high | 1094.02 | m |  | 0
9.12.c | 5.0m high | 1452.99 | m |  | 0
9.12.d | 6.0m high | 1829.06 | m |  | 0
9.13. | Supply and install permanent signage
9.13.a | Stop sign |  | each
9.13.b | Dead end barricade |  | each
9.13.c | Regulatory signs |  | m
9.13.d | Guardrail |  | each
9.14. | Supply and install concrete filled pipe bollards | 875.42 | each |  | 0
Total for Section 9 |  |  |  |  | 0
SECTION A1: EXISTING CONDITION
a1.1. | Topographic survey conducted by an OLS
a1.1.a | Existing conditions | 3006.73 | ha |  | 0
a1.1.b | Post site cut & fill | 3006.73 | ha |  | 0
a1.1.c | Post sub excavation | 3006.73 | ha |  | 0
a1.1.d | Pregrade elevation | 3006.73 | ha |  | 0
a1.2. | Boundary survey of property/lot lines conducted by an OLS | 4606.06 | ha |  | 0
a1.3. | Supply and install survey monuments | 267.29 |  |  | 0
Total for Section a1 |  |  |  |  | 0
SECTION B1: LANDSCAPING
b1.1. | Place and find grade topsoil | 9.76 | cum |  | 0
b1.2. | Hydroseed topsoil with turf mix | 0.74 | sqm |  | 0
b1.3. | Supply and install No.1 Nursery Sod
b1.3.a | Up to 750sqm | 7.02 | sqm |  | 0
b1.3.b | Greater than 750sqm | 4.12 | sqm |  | 0
b1.4. | Supply and install deciduous streetscape trees
b1.4.a | Deciduous Trees (50mm caliper) | 150.22 | each |  | 0
b1.4.b | Decidious Trees (75mm caliper) | 233.1 | each |  | 0
b1.4.c | Decidious Trees (100mm caliper) | 293.19 | each |  | 0
b1.5. | Remove selected tree/planting and dispose off site
b1.5.a | Deciduous | 41.44 | each |  | 0
b1.5.b | Evergreen | 82.88 | each |  | 0
b1.5.c | Shrubs | 31.08 | each |  | 0
Total for Section b1 |  |  |  |  | 0
SECTION C1: GEOTECHNICAL INVESTIGATION
c1.1. | Asphalt testing
c1.1.a | Compressive strength Marshall stability | 673.2 | each |  | 0
c1.1.b | Extract individual samples for testing | 291.72 | each |  | 0
c1.1.c | Penetration testing | 112.2 | each |  | 0
c1.2. | Concrete testing
c1.2.a | Extract cylinder sample and deliver to lab for compressive testing | 96.49 | each |  | 0
c1.2.b | Concrete core drilling and extraction for compressive testing | 227.21 | each |  | 0
c1.2.c | Mix design analysis | 319.77 | each |  | 0
c1.3. | Soil testing
c1.3.a | Consolidating test | 561 | each |  | 0
c1.3.b | Proctor compaction test | 283.87 | each |  | 0
c1.3.c | Atterberg limits | 112.2 | each |  | 0
c1.4. | Technician present for inspection for one full day | 686.66 | each |  | 0
c1.5. | Subsurface boring exploration c/w preparation of drawings showing boring details and summary report/recommendations from Geotechnical Engineer | 2869.72 | each |  | 0
Total for Section c1 |  |  |  |  | 0

## Sheet1
Proj. type | Section | Item No. | Sub-item No. | Unit | Unit Rate | Item Description
A | 1 | 1 |  |  |  | Supply, install and remove sediment fence including maintenance throughout duration of project as directed by Consulting Engineer
A | 1 | 1 | a | m | 12.82 | Single row per OPSD 219.110
A | 1 | 1 | b | m | 37.82 | Single row c/w strawbale per OPSD 219.100
A | 1 | 1 | c | m | 19.23 | Double row
A | 1 | 1 | d | m | 44.23 | Double row c/w strawbale
A | 1 | 2 |  |  |  | Supply, install and maintain catchbasin protection woven geotextile to all existing Cbs and/or CBMHs
A | 1 | 2 | a | each | 175 | Catchbasin
A | 1 | 2 | b | each | 175 | Catchbasin manhole
A | 1 | 2 | c | each | 200 | Double catchbasin
A | 1 | 2 | d | each | 200 | Double catchbasin manhole
A | 1 | 3 |  | each | 8435.67 | Construct and maintain 450mm depth of 50mm diameter gravel construction entrance mud-mat as directed by Consulting Engineer.
A | 1 | 4 |  | m | 14.84 | Supply and install fiber roll flow
A | 1 | 5 |  |  |  | Construct and maintain temporary flat bottom ditch rock flow check dam per OPSD 219.211
A | 1 | 6 |  | m | 11.13 | Construct and maintain temporary diversion OR cut off swales as directed by Consulting Engineer
A | 1 | 7 |  | sqm | 0.74 | Seed temporary diversion OR cut off swale as shown on ESC plan
A | 1 | 8 |  | each | 1000 | Construct and maintain temporary sediment trap per OPSD 219.220
A | 1 | 9 |  |  |  | Construct and maintain temporary sediment basin
A | 1 | 10 |  |  |  | Supply and install temporary Hickenbottom drain c/w 75mm diameter orifice plate and anti-seep collar
A | 1 | 10 | a |  |  | 150mm diameter drain
A | 1 | 10 | b |  |  | 300mm diameter drain
A | 1 | 11 |  |  |  | Construct and maintain temporary plunge pool
A | 1 | 11 | a | sqm | 145 | C/w 300mm depth of 150mm rip-rap on top of 200mm depth of 20mm CRL
A | 1 | 11 | b | sqm | 137 | C/w 300mm depth of 150mm rip-rap on top of non-woven filter fabric
A | 1 | 12 |  | m | 12.51 | Supply, install and remove snow fence barrier as directed by Consulting Engineer
A | 2 | 1 |  |  |  | Clear and grub site as directed by Consulting Engineer
A | 2 | 1 | a | ha. | 18232.31 | Light trees (6" diameter)
A | 2 | 1 | b | ha. | 28915.8 | Medium trees (12" diameter)
A | 2 | 1 | c | ha. | 64292.87 | Heavy trees (24" diameter)
A | 2 | 2 |  |  |  | Strip topsoil as directed by Consulting Engineer and:
A | 2 | 2 | a | cum | 4.11 | Stockpile on site
A | 2 | 2 | b | cum | 15.82 | Export off site
A | 2 | 3 |  | cum | 8.08 | Import topsoil onsite as directed by Consulting Engineer (Based on: 10 cum truck. 6km total haul, traveling avg. 40km.h)
A | 2 | 4 |  |  |  | Cut and fill site to desired pregrade level
A | 2 | 4 | a | cum | 6.14 | Excavate, spread, and compact cut material to the Standard Proctor Maximum Dry Density (SPMDD) of 98%
A | 2 | 4 | b | cum | 8.78 | Import, spread, and compact clean fill to the Standard Proctor Maximum Dry Density (SPMDD) of 98%
A | 2 | 4 | c | cum | 7.41 | Export additional cut fill off site (Based on: 10 cum truck. 6km total haul, traveling avg. 40km.h)
A | 2 | 5 |  | cum | 5.58 | Spread and hydroseeded topsoil as directed by Consulting Engineer
A | 2 | 6 |  |  |  | Rough grade site
A | 2 | 6 | a | LS | 1320.9 | 100 cum to 300 cum using skid steer
A | 2 | 6 | b | LS | 1994.3 | 300 cum to 450 cum using skid steer
A | 2 | 6 | c | LS | 3082.1 | 450 cum to 750 cum using skid steer
A | 2 | 6 | d | LS | 4118.1 | 750 cum to 1000 cum using skid steer
A | 2 | 6 | e | LS | 1476.3 | 750 cum to 1000 cum using dozer
A | 2 | 6 | f | LS | 1398.6 | 1000 cum to 2000 cum using grader
A | 2 | 6 | g | LS | 1787.1 | 2000 cum to 2500 cum using grader
A | 2 | 6 | h | LS | 2486.4 | 2500 cum to 3500 cum using grader
A | 2 | 6 | i | LS | 3496.5 | 3500 cum to 4500 cum using grader
A | 2 | 6 | j | LS | 4998.7 | 4500 cum to 7000 cum using grader
A | 2 | 6 | k | LS | 6941.2 | 7000 cum to 9500 cum using grader
A | 2 | 7 |  |  |  | Borrow, load, or spread material using front end loader
A | 2 | 7 | a | cum | 30.3 | Common fill
A | 2 | 7 | b | cum | 46.46 | Granular
A | 2 | 7 | c | cum | 23.77 | Clay or Till
A | 2 | 7 | d | cum | 43.77 | Topsoil
A | 2 | 8 |  |  |  | Haul loose fill to site. Including waiting, loading, travel, dumping and returning. Assuming a 10 cum truck traveling 40 km/h and 20 minute wait time
A | 2 | 8 | a | cum | 8.75 | 6km haul cycle (3km each way)
A | 2 | 8 | b | cum | 10.03 | 10km haul cycle (5km each way)
A | 2 | 8 | c | cum | 11.72 | 12km haul cycle (6km each way)
A | 2 | 8 | d | cum | 12.79 | 16km haul cycle (8km each way)
A | 2 | 9 |  |  |  | Compaction of material assuming 300mm lift and 2 passes
A | 2 | 9 | a | cum | 0.12 | Seated vibratory rolling compactor
A | 2 | 9 | b | cum | 0.2 | Sheepsfoot roller compactor
A | 2 | 9 | c | cum | 0.53 | Walking vibratory plate compactor
A | 3 | 1 |  |  |  | Supply and install 150mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
A | 3 | 1 | a | m | 91.45 | Depth of 2m-3m
A | 3 | 1 | b | m | 108.55 | Depth of 3m-4m
A | 3 | 1 | c | m | 142.73 | Depth of 4m-6m
A | 3 | 1 | d | m | 176.92 | Depth of 6m-8m
A | 3 | 2 |  |  |  | Supply and install 200mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
A | 3 | 2 | a | m | 116.24 | Depth of 2m-3m
A | 3 | 2 | b | m | 133.33 | Depth of 3m-4m
A | 3 | 2 | c | m | 170.94 | Depth of 4m-6m
A | 3 | 2 | d | m | 208.55 | Depth of 6m-8m
A | 3 | 3 |  |  |  | Supply and install 250mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
A | 3 | 3 | a | m | 141.88 | Depth of 2m-3m
A | 3 | 3 | b | m | 160.68 | Depth of 3m-4m
A | 3 | 3 | c | m | 200 | Depth of 4m-6m
A | 3 | 3 | d | m | 241.03 | Depth of 6m-8m
A | 3 | 4 |  |  |  | Supply and install 300mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
A | 3 | 4 | a | m | 167.52 | Depth of 2m-3m
A | 3 | 4 | b | m | 188.03 | Depth of 3m-4m
A | 3 | 4 | c | m | 229.06 | Depth of 4m-6m
A | 3 | 4 | d | m | 273.5 | Depth of 6m-8m
A | 3 | 5 |  |  |  | Supply and install 375mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
A | 3 | 5 | a | m | 205.13 | Depth of 2m-3m
A | 3 | 5 | b | m | 227.35 | Depth of 3m-4m
A | 3 | 5 | c | m | 271.79 | Depth of 4m-6m
A | 3 | 5 | d | m | 321.37 | Depth of 6m-8m
A | 3 | 6 |  |  |  | Supply and install 450mm diameter PVC SAN pipe incl. excavation, granular bedding, and backfill
A | 3 | 6 | a | m | 273.5 | Depth of 2m-3m
A | 3 | 6 | b | m | 297.44 | Depth of 3m-4m
A | 3 | 6 | c | m | 341.88 | Depth of 4m-6m
A | 3 | 6 | d | m | 396.58 | Depth of 6m-8m
A | 3 | 7 |  |  |  | Jack and bore 450 diameter
A | 3 | 7 | a | m | 1555.55 | steel case only
A | 3 | 7 | b | m | 4144 | Mobilization, preparation, and demobilization
A | 3 | 8 |  |  |  | Auger 900mm diameter
A | 3 | 8 | a | m | 1519.66 | utility tunnel c/w liner
A | 3 | 8 | b | m | 5439 | Mobilization, preparation, and demobilization
A | 3 | 9 |  |  |  | Supply and install 50mm diameter 50PE forcemain
A | 3 | 9 | a | m |  | Depth of 3m
A | 3 | 9 | b | m |  | Depth of 3.5m-5m
A | 3 | 10 |  |  |  | Supply and install 100mm diameter PVC class SDR-28 sanitary service connection
A | 3 | 10 | a | each |  | Single
A | 3 | 10 | b | each |  | Double
A | 3 | 11 |  |  |  | Supply and install 125mm diameter PVC class SDR-28 sanitary service connection
A | 3 | 11 | a | each |  | Single
A | 3 | 11 | b | each |  | Double
A | 3 | 12 |  |  |  | Supply and install precast concrete sanitary manhole
A | 3 | 12 | a | m | 1418.8 | 1200mm diameter
A | 3 | 12 | b | m | 2085.47 | 1500mm diameter
A | 3 | 12 | c | m | 3076.92 | 1800mm diameter
A | 3 | 12 | d | m | 4102.56 | 2400mm diameter
A | 3 | 13 |  | each |  | Supply and install safety grate in concrete manhole per OPSD 404.020
A | 3 | 14 |  | each |  | Break into EX.SAN MH and connect with new drop structure
A | 3 | 15 |  | m | 30.09 | Clean, flush and perform CCTV testing of all sanitary sewers and structures
A | 3 | 16 |  | m |  | Perform air pressure testing of all sanitary sewers
A | 3 | 17 |  | m |  | Perform deflection testing of all sanitary sewers
A | 4 | 1 |  |  |  | Supply and install 250mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
A | 4 | 1 | a | m | 141.88 | Depth of 2m-3m
A | 4 | 1 | b | m | 160.68 | Depth of 3m-4m
A | 4 | 1 | c | m | 200 | Depth of 4m-6m
A | 4 | 1 | d | m | 241.03 | Depth of 6m-8m
A | 4 | 2 |  |  |  | Supply and install 300mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
A | 4 | 2 | a | m | 167.52 | Depth of 2m-3m
A | 4 | 2 | b | m | 188.03 | Depth of 3m-4m
A | 4 | 2 | c | m | 229.06 | Depth of 4m-6m
A | 4 | 2 | d | m | 273.5 | Depth of 6m-8m
A | 4 | 3 |  |  |  | Supply and install 375mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
A | 4 | 3 | a | m | 205.13 | Depth of 2m-3m
A | 4 | 3 | b | m | 227.35 | Depth of 3m-4m
A | 4 | 3 | c | m | 271.79 | Depth of 4m-6m
A | 4 | 3 | d | m | 321.37 | Depth of 6m-8m
A | 4 | 4 |  |  |  | Supply and install 450mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
A | 4 | 4 | a | m | 273.5 | Depth of 2m-3m
A | 4 | 4 | b | m | 297.44 | Depth of 3m-4m
A | 4 | 4 | c | m | 341.88 | Depth of 4m-6m
A | 4 | 4 | d | m | 396.58 | Depth of 6m-8m
A | 4 | 5 |  |  |  | Supply and install 600mm diameter PVC STM pipe incl. excavation, granular bedding, and backfill
A | 4 | 5 | a | m | 348.72 | Depth of 2m-3m
A | 4 | 5 | b | m | 376.07 | Depth of 3m-4m
A | 4 | 5 | c | m | 427.35 | Depth of 4m-6m
A | 4 | 5 | d | m | 492.31 | Depth of 6m-8m
A | 4 | 6 |  |  |  | Jack and bore 450 diameter
A | 4 | 6 | a | m | 1555.55 | steel case only
A | 4 | 6 | b | m | 4144 | Mobilization, preparation, and demobilization
A | 4 | 7 |  |  |  | Auger 900mm diameter
A | 4 | 7 | a | m | 1519.66 | utility tunnel c/w liner
A | 4 | 7 | b | m | 5439 | Mobilization, preparation, and demobilization
A | 4 | 8 |  |  |  | Supply and install PVC storm orifice tube including eccentric reducer
A | 4 | 8 | a | each |  | 1.0m-75mm diameter
A | 4 | 8 | b | each |  | 1.0m-150mm diameter
A | 4 | 8 | c | each |  | 1.0m-200mm diameter
A | 4 | 9 |  | each |  | Supply and install aluminium orifice tube fuse guard
A | 4 | 10 |  | each | 279.72 | 50mm diameter dewatering pump installed in trench for 8-hours
A | 4 | 11 |  |  |  | Supply and install 1.8m x 1.0m precast concrete box culvert incl. excavation, granular bedding, and backfill
A | 4 | 11 | a | m | 1035.9 | Depth of 2m-3m
A | 4 | 11 | b | m | 1059.83 | Depth of 3m-4m
A | 4 | 11 | c | m | 1111.11 | Depth of 4m-6m
A | 4 | 11 | d | m | 1165.81 | Depth of 6m-8m
A | 4 | 12 |  |  |  | Supply and install 2.4m x 1.0m precast concrete box culvert incl. excavation, granular bedding, and backfill
A | 4 | 12 | a | m | 1480.34 | Depth of 2m-3m
A | 4 | 12 | b | m | 1504.27 | Depth of 3m-4m
A | 4 | 12 | c | m | 1555.55 | Depth of 4m-6m
A | 4 | 12 | d | m | 1610.25 | Depth of 6m-8m
A | 4 | 13 |  |  |  | Supply and install 3.0m x 2.5m precast concrete box culvert incl. excavation, granular bedding, and backfill
A | 4 | 13 | a | m | 2283.76 | Depth of 2m-3m
A | 4 | 13 | b | m | 2307.69 | Depth of 3m-4m
A | 4 | 13 | c | m | 2358.97 | Depth of 4m-6m
A | 4 | 13 | d | m | 2413.67 | Depth of 6m-8m
A | 4 | 14 |  |  |  | Supply and install 125mm diameter PVC storm service connection
A | 4 | 14 | a | each |  | Single
A | 4 | 14 | b | each |  | Double
A | 4 | 15 |  |  |  | Supply and install 150mm diameter PVC storm service connection
A | 4 | 15 | a | each |  | Single
A | 4 | 15 | b | each |  | Double
A | 4 | 16 |  |  |  | Supply and install concrete storm manhole
A | 4 | 16 | a | m | 1418.8 | 1200mm diameter
A | 4 | 16 | b | m | 2085.47 | 1500mm diameter
A | 4 | 16 | c | m | 3076.92 | 1800mm diameter
A | 4 | 16 | d | m | 4102.56 | 2400mm diameter
A | 4 | 17 |  | each |  | Supply and install safety grate in concrete manhole per OPSD 404.020
A | 4 | 18 |  | each |  | Break into EX.STM MH and connect with new drop structure
A | 4 | 19 |  |  |  | Supply and install precast concrete catchbasin and lead
A | 4 | 19 | a | each | 3574.2 | Single (CB)
A | 4 | 19 | b | each | 4895.1 | Double (DCB)
A | 4 | 19 | c | each |  | Rear-lot CB (RLCB)
A | 4 | 19 | d | each |  | Ditch inlet CB (DICB)
A | 4 | 20 |  |  |  | Supply and install HDPE BOSS culverts
A | 4 | 20 | a | each | 67.59 | 400mm diameter
A | 4 | 20 | b | each | 124.14 | 600mm diameter
A | 4 | 20 | c | each | 161.95 | 800mm diameter
A | 4 | 21 |  |  |  | Supply and install CSP culverts
A | 4 | 21 | a | each | 97.85 | 400mm diameter
A | 4 | 21 | b | each | 159.76 | 600mm diameter
A | 4 | 21 | c | each | 256.48 | 800mm diameter
A | 4 | 22 |  | each | 4000 | Supply and install cast-in-place concrete headwall per OPSD 804.030 c/w warning sign per OPSD 3940.150 and safety grate per OPSD 804.05
A | 4 | 23 |  | m | 30.09 | Clean, flush and perform CCTV testing of all storm sewers and structures
A | 4 | 24 |  | m |  | Perform deflection testing of all storm sewers
A | 5 | 1 |  | each |  | Remove existing plug and blow-off and connect to existing watermain
A | 5 | 2 |  |  |  | Supply and install valve and box (V&B)
A | 5 | 2 | a | each | 1087.8 | 100mm diameter
A | 5 | 2 | b | each | 1605.8 | 200mm diameter
A | 5 | 2 | c | each | 2667.7 | 300mm diameter
A | 5 | 2 | d | each | 5464.9 | 350mm diameter
A | 5 | 2 | e | each | 7977.2 | 450mm diameter
A | 5 | 3 |  |  |  | Supply and install watermain incl. excavation
A | 5 | 3 | a | each | 138.46 | 50mm diameter Type 'K' copper
A | 5 | 3 | b | each | 58.63 | 150mm diameter PVC Class 150
A | 5 | 3 | c | each | 75.73 | 200mm diameter PVC Class 150
A | 5 | 3 | d | each | 90.6 | 250mm diameter PVC Class 150
A | 5 | 3 | e | each | 111.11 | 300mm diameter PVC Class 150
A | 5 | 3 | f | each | 141.88 | 350mm diameter PVC Class 150
A | 5 | 4 |  |  |  | Supply and install tapping sleeve and valve into existing watermain
A | 5 | 4 | a | each | 1683.5 | 100mm diameter
A | 5 | 4 | b | each | 2538.2 | 200mm diameter
A | 5 | 4 | c | each | 4739.7 | 300mm diameter
A | 5 | 4 | d | each | 5982.9 | 350mm diameter
A | 5 | 4 | e | each | 11603.2 | 400mm diameter
A | 5 | 5 |  |  |  | Supply and install cut in sleeve and valve into existing watermain
A | 5 | 5 | a | each | 1528.1 | 100mm diameter
A | 5 | 5 | b | each | 2590 | 200mm diameter
A | 5 | 5 | c | each | 4506.6 | 300mm diameter
A | 5 | 6 |  |  |  | Supply and install watermain reducing tee
A | 5 | 6 | a | each | 167.83 | 150mm to 100mm
A | 5 | 6 | b | each | 280.76 | 200mm to 150mm
A | 5 | 6 | c | each | 265.22 | 250mm to 200mm
A | 5 | 6 | d | each | 326.34 | 300mm to 150mm
A | 5 | 6 | e | each | 357.42 | 300mm to 200mm
A | 5 | 7 |  |  |  | Jack and bore 450 diameter
A | 5 | 7 | a | m | 1555.55 | steel case only
A | 5 | 7 | b | m | 4144 | Mobilization, preparation, and demobilization
A | 5 | 8 |  |  |  | Auger 900mm diameter
A | 5 | 8 | a | m | 1519.66 | utility tunnel c/w liner
A | 5 | 8 | b | m | 5439 | Mobilization, preparation, and demobilization
A | 5 | 9 |  |  |  | Supply and install backflow preventor c/w valves and automatic operation
A | 5 | 9 | a | each | 3748.5 | 100mm diameter
A | 5 | 9 | b | each | 5839.5 | 150mm diameter
A | 5 | 9 | c | each | 9817.5 | 200mm diameter
A | 5 | 9 | d | each | 15402 | 250mm diameter
A | 5 | 10 |  |  |  | Supply and install precast water chamber c/w valves, water meter and maintenance access
A | 5 | 10 | a | each | 17560.2 | 100 diameter and valve and meter
A | 5 | 10 | b | each | 22144.5 | 150 diameter and valve and meter
A | 5 | 10 | c | each | 30717.4 | 200 diameter and valve and meter
A | 5 | 10 | d | each | 44081.8 | 250 diameter and valve and meter
A | 5 | 11 |  |  |  | Supply and install Type 'K' water service connection c/w curb stop
A | 5 | 11 | a | each |  | 25mm diameter
A | 5 | 11 | b | each |  | 50mm diameter
A | 5 | 12 |  | each | 5128.2 | Supply and install hydrant including valve and box to final grade
A | 5 | 13 |  | each |  | Supply and install hydrant anti-tempering device as directed by Consultanting Engineer
A | 5 | 14 |  | m |  | Swab, flush and chlorinate watermain system
A | 5 | 15 |  | m |  | Perform pressure testing on watermain system
A | 5 | 16 |  | m |  | Perform watermain continuity testing
A | 6 | 1 |  | sqm | 135.61 | Supply and install 50-100mm diameter low flow rip-rap along bottom of dry pond
A | 6 | 2 |  | sqm | 287.38 | Supply and install cable concrete CC35 blocks or approved equivalent along bottom of dry pond
A | 6 | 3 |  |  |  | Supply and instsal geosynthetic reservoir liner
A | 6 | 3 | a | sqm | 9.16 | Clay liner as instructed by Gotechincal Engineer (assumed 300nn thick). Include haul, placement and compaction
A | 6 | 3 | b | sqm | 27.53 | 60mm thick HDPE membrane liner
A | 6 | 4 |  | sqm | 1.57 | Supply and install non-woven filter fabric Terrafix 420R or equivalent
A | 6 | 5 |  | sqm | 8.75 | Supply and install 200mm compacted depth of 20mm CRL
A | 6 | 6 |  | sqm | 137.18 | Construct 300mm depth overland flow route c/w 150 diameter rip-rap over filter fabric
A | 6 | 7 |  |  |  | Supply and install concrete outlet control structure at spillway location
A | 6 | 8 |  | LS |  | Construct cast-in-place concrete Emergency Spillway Weir
A | 6 | 9 |  |  |  | Construct Emergency Spillway channel
A | 6 | 9 | a | sqm | 294.62 | Line with Eco-Raster E50
A | 6 | 9 | b | sqm | 71.01 | Line with cable concrete CC35 blocks
A | 6 | 10 |  | each | 4000 | Supply and install cast-in-place concrete headwall per OPSD 804.030 c/w warning sign per OPSD 3940.150 and safety grate per OPSD 804.05
A | 6 | 11 |  | m |  | Construct permanent cutoff swale
A | 6 | 12 |  | each | 1295 | Supply and install double swing maintenance gate per OPSD 972.102
A | 6 | 13 |  | LS |  | SWM Dry Pond maintenance as instructed by Consulting Engineer
A | 6 | 14 |  |  |  | Supply and install geosyntehtic reservoir liner
A | 6 | 14 | a | sqm | 9.16 | Clay liner as instructed by Gotechincal Engineer (assumed 300nn thick). Include haul, placement and compaction
A | 6 | 14 | b | sqm | 27.53 | 60mm thick HDPE membrane liner
A | 6 | 15 |  | sqm | 287.38 | Supply and install cable concrete CC35 blocks or approved equivalent along bottom of active storage basin
A | 6 | 16 |  | sqm | 8.75 | Supply and install 200mm compacted depth of 20mm CRL
A | 6 | 17 |  | sqm | 1.57 | Supply and install non-woven filter fabric Terrafix 420R or equivalent
A | 6 | 18 |  | each | 4000 | Supply and install cast-in-place concrete headwall per OPSD 804.030 c/w warning sign per OPSD 3940.150 and safety grate per OPSD 804.05
A | 6 | 19 |  | LS |  | Supply and install concrete outlet control structure at spillway location
A | 6 | 20 |  | LS |  | Construct cast-in-place concrete Emergency Spillway Weir
A | 6 | 21 |  |  |  | Construct Emergency Spillway channel
A | 6 | 21 | a | sqm | 294.62 | Line with Eco-Raster E50
A | 6 | 21 | b | sqm | 71.01 | Line with cable concrete CC35 blocks
A | 6 | 22 |  | each | 1295 | Supply and install double swing maintenance gate per OPSD 972.102
A | 6 | 23 |  | LS |  | Active Storage Basin maintenance as directed by Consulting Engineer
A | 6 | 24 |  | m | 2297.43 | Supply and install 2.0m H x 0.50m W Decorative Stone retaining wall
A | 6 | 25 |  |  |  | Supply and install cast-in-place concrete retaining wall or approved equivalent as directed by Structural Engineer
A | 6 | 25 | a | m | 1059.83 | 2.0m high
A | 6 | 25 | b | m | 2017.09 | 3.0m high
A | 6 | 26 |  |  |  | Supply and install permeable pavements
A | 6 | 26 | a | sqm | 405.76 | c/w compacted 50mm diameter granular sub-base and geotextile.
A | 6 | 26 | b | sqm | 153.28 | Supply and install permeable pavement only
A | 6 | 27 |  | m |  | Construct 2.0m wide flat bottom enhanced grass swale at 1.0% with 5:1 embankment slopes and min. 150mm depth of topsoil and sod
A | 6 | 28 |  | m | 13.5 | Supply and install 150mm daimeter fully perforated sock wrapped 'Big O' subdrain along entire lenghth of enhanced grass swale
A | 6 | 29 |  | m | 27.71 | Supply and install 100mm depth of 50mm diameter clear stone across 2.0m width and entire length of enhanced grass swale, wrapped in non-woven filter fabric c/w overlap joints of min. 150mm
A | 6 | 30 |  | sqm | 21.4 | Supply and instsall impervious membrane linear underneath 100mm depth of 50mm clear stone
A | 6 | 31 |  | LS |  | Supply and install precast 150mm thick 30 degree V-notch concrete weir structure
A | 6 | 32 |  | cum |  | Supply and install Brentwood Stormtank c/w impermeable liner
A | 6 | 33 |  | sqm |  | Supply and install 150mm depth of 20mm CRL c/w mon-woven geotextile to use as leveling bes and top backfill for Brentwood Stormtank as directed by Consulting Engineer
A | 6 | 34 |  |  |  | Supply and install 0.25m H x 0.50m W infiltration chamber c/w surrounding 50mm dia. clear sotne and observation well. Including excavation and backfill
A | 6 | 34 | a | m | 43.42 | 0.25m H x 0.50m W
A | 6 | 34 | b | m | 64.55 | 0.30m H x 1.00m W
A | 6 | 34 | c | m | 176.92 | 0.75m H x 1.25m W
A | 6 | 35 |  |  |  | Supply and install OGS Stormceptor unit
A | 6 | 35 | a | each |  | Model STC 750
A | 6 | 35 | b | each |  | Model STC 1500
A | 6 | 35 | c | each |  | Model STC 4000
A | 6 | 36 |  | each |  | Supply and instal ADS water quality unit
A | 6 | 37 |  | each |  | Supply and install Jellyfish water quality unit
A | 7 | 1 |  | sqm | 4.48 | Fine grade over full width of R.O.W.
A | 7 | 2 |  | sqm | 4.48 | Fine grade boulevards, buffer areas, and parks to pre-grade elevations
A | 7 | 3 |  | sqm | 0.51 | Supply and spread 100mm topsoil depth where directed by Consulting Engineer
A | 7 | 4 |  |  |  | Supply and install:
A | 7 | 4 | a | sqm | 0.52 | No.1 Nursery Sod over topsoil areas
A | 7 | 4 | b | sqm | 0.46 | Hydroseed over topsoil areas
A | 7 | 5 |  |  |  | Supply and install 50mm diameter CRL across road width to 0.60m behind curbs, compacted to a depth of:
A | 7 | 5 | a | sqm | 18.92 | 225mm depth
A | 7 | 5 | b | sqm | 20.96 | 250mm depth
A | 7 | 5 | c | sqm | 27.74 | 300mm depth
A | 7 | 5 | d | sqm | 31.44 | 350mm depth
A | 7 | 6 |  |  |  | Supply and install 20mm diameter CRL across road width to face of curbs, compacted to a depth of:
A | 7 | 6 | a | sqm | 8.01 | 130mm depth
A | 7 | 6 | b | sqm | 8.75 | 150mm depth
A | 7 | 6 | c | sqm | 11.71 | 200mm depth
A | 7 | 7 |  | m | 60.68 | Supply and install 100mm diameter fully perforated wrapped subdrain underneath curb
A | 7 | 8 |  | m | 123.08 | Supply and construct cast-in-place concrete curb and gutter
A | 7 | 9 |  | m | 15.21 | Supply and construct temporary asphalt curb
A | 7 | 10 |  |  |  | Supply and install HL8 base course asphalt over roadway
A | 7 | 10 | a | sqm | 11.9 | 50mm depth
A | 7 | 10 | b | sqm | 17.44 | 75mm depth
A | 7 | 10 | c | sqm | 22.93 | 100mm depth
A | 7 | 10 | d | sqm | 33.96 | 150mm depth
A | 7 | 11 |  |  |  | Supply and install temporary pavement markings
A | 7 | 11 | a | each |  | 0.60m wide stop bar
A | 7 | 11 | b | each | 66.3 | Handicap symbol
A | 7 | 11 | c | m | 1.2 | 100mm thick dividing line
A | 7 | 11 | d | each |  | Turning symbols
A | 8 | 1 |  |  |  | Demolish existing structure and dispose off site
A | 8 | 1 | a | each | 15 | Steel, masonry or wood building
A | 8 | 1 | b | each | 19.39 | Concrete building
A | 8 | 1 | c | each | 9293.7 | House - 150 sqm
A | 8 | 1 | d | each | 9453.5 | House - 250 sqm
A | 8 | 1 | e | each | 12639.2 | House - 300 sqm
A | 8 | 1 | f | each | 16783.2 | House - 400 sqm
A | 8 | 1 | h | each | 21030.8 | House - 500 sqm
A | 8 | 2 |  |  |  | Remove existing Sanitary pipe and dispose off site
A | 8 | 2 | a | m | 13.4 | 150mm diameter PVC
A | 8 | 2 | b | m | 22.39 | 300mm diameter PVC
A | 8 | 2 | c | m | 22.39 | 450mm diameter PVC
A | 8 | 3 |  |  |  | Remove existing Storm pipe and dispose off site
A | 8 | 3 | a | m | 22.39 | 250mm diameter PVC
A | 8 | 3 | b | m | 22.39 | 450mm diameter PVC
A | 8 | 3 | c | m | 75.21 | 600mm diameter PVC
A | 8 | 4 |  |  |  | Remove existing Watermain pipe and dispose off site
A | 8 | 4 | a | m | 9.95 | 50mm diameter PVC
A | 8 | 4 | b | m | 13.4 | 150mm diameter PVC
A | 8 | 4 | c | m | 22.39 | 300mm diameter PVC
A | 8 | 5 |  |  |  | Remove existing V&B and dispose off site
A | 8 | 5 | a | each | 461.02 | 50mm-300mm diameter
A | 8 | 5 | b | each | 1217.3 | 350mm-600mm diameter
A | 8 | 6 |  | m | 837.61 | Remove existing catchbasin/manhole and dispose off site
A | 8 | 7 |  | each | 1942.5 | Relocate existing hydrant and valve
A | 8 | 8 |  | sqm | 12.7 | Sawcut and remove existing asphalt and dispose off site
A | 8 | 9 |  | m | 24.27 | Remove existing concrete curb and gutter and dispose off site
A | 8 | 10 |  |  |  | Remove existing concrete sidewalk and dispose off site
A | 8 | 10 | a | m | 30.24 | 1.5m wide
A | 8 | 10 | b | m | 60.47 | 3.0m wide
A | 8 | 11 |  |  |  | Remove existing concrete (general)
A | 8 | 11 | a | cum | 176.43 | Plain, not reinforced
A | 8 | 11 | b | cum | 242.42 | Reinforced
A | 8 | 12 |  |  | 12 | Remove existing pavement markings
A | 8 | 13 |  |  |  | Remove existing concrete retaining wall c/w NO reinforcement
A | 8 | 13 | a | m | 63.59 | 1.5m high
A | 8 | 13 | b | m | 85.47 | 3.0m high
A | 8 | 14 |  |  |  | Remove existing concrete retaining wall c/w reinforcement
A | 8 | 14 | a | m | 85.47 | 1.5m high
A | 8 | 14 | b | m | 105.98 | 3.0m high
A | 8 | 15 |  |  |  | Remove and relocate existing signage
A | 8 | 15 | a | each |  | Stop sign
A | 8 | 15 | b | each |  | Dead end barricade
A | 8 | 15 | c | each |  | Regulatory signs
A | 8 | 15 | d | m | 87.18 | Guardrail
A | 8 | 16 |  | m | 7.52 | Remove 1.5m high black vinyl chain link fence (CLF) and dispose off site
A | 8 | 17 |  | m | 9.85 | Remove 1.8m high cedar privacy fence and dispose off site
A | 8 | 18 |  | m | 48.38 | Remove railroad ties and tracks and dispose off site
A | 9 | 1 |  |  |  | Raise CB and MH frame and cover to finished grade
A | 9 | 1 | a | each | 275.58 | Manhole
A | 9 | 1 | b | each | 275.58 | Catchbasin
A | 9 | 1 | c | each | 336.7 | Double Catchbasin
A | 9 | 2 |  | sqm |  | Clean and sweep entire roadway surface
A | 9 | 3 |  | sqm | 2.06 | Apply tack coat over entire roadway surface
A | 9 | 4 |  |  |  | Supply and install HL3 top course asphalt over roadway
A | 9 | 4 | a | sqm | 6.23 | 25mm depth
A | 9 | 4 | b | sqm | 10.05 | 40mm depth
A | 9 | 4 | c | sqm | 13.31 | 50mm depth
A | 9 | 5 |  |  |  | Supply and construct concrete sidewalk or walkway
A | 9 | 5 | a |  | 142.46 | 1.5m wide
A | 9 | 5 | b |  | 284.93 | 3.0m wide
A | 9 | 6 |  | each | 129.5 | Supply and install tactile warning plates at pedestrian crossings
A | 9 | 7 |  |  |  | Supply and construct permanent community concrete mailbox pad
A | 9 | 7 | a | each | 563 | 2.0m x 2.0m
A | 9 | 7 | b | each | 1064.07 | 2.5m x 2.5m
A | 9 | 7 | c | each | 1745.3 | 3.0m x 3.0m
A | 9 | 8 |  |  |  | Supply and install permanent pavement markings
A | 9 | 8 | a | each |  | 0.60m wide stop bar
A | 9 | 8 | b | each | 66.3 | Handicap symbol
A | 9 | 8 | c | m | 1.2 | 100mm thick dividing line
A | 9 | 8 | d | each |  | Turning symbols
A | 9 | 9 |  | m | 57.26 | Supply and install 1.5m high black vinyl chain link fence (CLF)
A | 9 | 10 |  | m | 121.37 | Supply and install 1.8m high cedar privacy fence
A | 9 | 11 |  | m | 161.81 | Supply and install 2.4m high cedar privacy fence
A | 9 | 12 |  |  |  | Supply and install light weight composite panel, cementitious face acoustic wall
A | 9 | 12 | a | m | 728.2 | 2.5m high
A | 9 | 12 | b | m | 1094.02 | 3.5m high
A | 9 | 12 | c | m | 1452.99 | 5.0m high
A | 9 | 12 | d | m | 1829.06 | 6.0m high
A | 9 | 13 |  |  |  | Supply and install permanent signage
A | 9 | 13 | a | each |  | Stop sign
A | 9 | 13 | b | each |  | Dead end barricade
A | 9 | 13 | c | m |  | Regulatory signs
A | 9 | 13 | d | each |  | Guardrail
A | 9 | 14 |  | each | 875.42 | Supply and install concrete filled pipe bollards
A | a1 | 1 |  |  |  | Topographic survey conducted by an OLS
A | a1 | 1 | a | ha | 3006.73 | Existing conditions
A | a1 | 1 | b | ha | 3006.73 | Post site cut & fill
A | a1 | 1 | c | ha | 3006.73 | Post sub excavation
A | a1 | 1 | d | ha | 3006.73 | Pregrade elevation
A | a1 | 2 |  | ha | 4606.06 | Boundary survey of property/lot lines conducted by an OLS
A | a1 | 3 |  |  | 267.29 | Supply and install survey monuments
A | b1 | 1 |  | cum | 9.76 | Place and find grade topsoil
A | b1 | 2 |  | sqm | 0.74 | Hydroseed topsoil with turf mix
A | b1 | 3 |  |  |  | Supply and install No.1 Nursery Sod
A | b1 | 3 | a | sqm | 7.02 | Up to 750sqm
A | b1 | 3 | b | sqm | 4.12 | Greater than 750sqm
A | b1 | 4 |  |  |  | Supply and install deciduous streetscape trees
A | b1 | 4 | a | each | 150.22 | Deciduous Trees (50mm caliper)
A | b1 | 4 | b | each | 233.1 | Decidious Trees (75mm caliper)
A | b1 | 4 | c | each | 293.19 | Decidious Trees (100mm caliper)
A | b1 | 5 |  |  |  | Remove selected tree/planting and dispose off site
A | b1 | 5 | a | each | 41.44 | Deciduous
A | b1 | 5 | b | each | 82.88 | Evergreen
A | b1 | 5 | c | each | 31.08 | Shrubs
A | c1 | 1 |  |  |  | Asphalt testing
A | c1 | 1 | a | each | 673.2 | Compressive strength Marshall stability
A | c1 | 1 | b | each | 291.72 | Extract individual samples for testing
A | c1 | 1 | c | each | 112.2 | Penetration testing
A | c1 | 2 |  |  |  | Concrete testing
A | c1 | 2 | a | each | 96.49 | Extract cylinder sample and deliver to lab for compressive testing
A | c1 | 2 | b | each | 227.21 | Concrete core drilling and extraction for compressive testing
A | c1 | 2 | c | each | 319.77 | Mix design analysis
A | c1 | 3 |  |  |  | Soil testing
A | c1 | 3 | a | each | 561 | Consolidating test
A | c1 | 3 | b | each | 283.87 | Proctor compaction test
A | c1 | 3 | c | each | 112.2 | Atterberg limits
A | c1 | 4 |  | each | 686.66 | Technician present for inspection for one full day
A | c1 | 5 |  | each | 2869.72 | Subsurface boring exploration c/w preparation of drawings showing boring details and summary report/recommendations from Geotechnical Engineer